Air outlet Vent
46.25 “ = 1174.75 mm
temp_top
24U
42”
SMA
outputs
22U
40.625”
VAC
Line
Filter
2U ventilation
Power Strip - 1U
19U 35.375”
Patch panel – 1U
SC/UPC
18U
33.625”
1U ventilation
Node ID
top
mid
MON
Air inlet
10MHz
LC/LC
10MHz
cap
bot
humid
1PPS
SC
1PPS
cap
14U
26.625”
1U ventilation
CAT7
D-Sub 9
Node Enclosure
 ID board
SNAP boards 10.0”
reserve 6U 10.5”
Shifted right to
accommodate for
an external bottom side
heat sink
SPF1
SPF1
SPF1
SPF1
SPF1
cap
SPF0
SPF0
SPF0
SPF0
coax
2.0”
10hp
Digital
fiber
1PPSout
cap
1PPS
1PPS
1PPS
1PPS
10MHz
10MHz
10MHz
10MHz
sclk
cap
3
2
1
0
7
6
5
4
11
10
9
8
cap
A2
cap
A0
cap
B2
cap
B0
cap
C2
cap
C0
A2
A2
Side Panel
A0
A0
B2
B2
RF and 10GbE to container
Waveguide :17.3”
Cantilevered, vented
shelf 2U x 14 inches deep
with front lip
3.63”
B0
B0
C2
C2
temp_mid
Analog
fiber
C0
C0
7U
14.375”
FEM walsh and I2C
Filtered D-SubN or
Waveguide: (no RJ45s)
2U extra space
coax
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, x
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
Input, y
coax
D-Sub
37
FEM DC power SMA: 9.3”
& perhaps RF over coax SMA: 7.3”
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
Output, x
2U
5.625”
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
Output, y
4.8”
temp_bot
Frame and usable depth: 20 inches
Humid
temp_humid
2U extra space
2.125”
03/30/18: more cable details including 10MHz and 1PPS. TBD: way for Walsh phase switch and I2C signals to pass through panel
03/15/18: first version with actual rails and some cables
Not to scale
Air Inlet Vent
Width: 20 inches
ground stud
Fixed rails
PCB - 3U
  FEM PSU - 2U
  RF over fiber
Fixed rails
 PAM - 3U
Fixed rails
Heat sink?